****

**ADDENDUM 2**

**TO**

**CITY OF BELLE ISLE**

**REQUEST FOR PROPOSALS**

**CURED IN PLACE PIPE (CIPP)**

**ITB #21-05**

This Addendum is issued on June 9, 2021. The issuance of this addendum does not change the submission dates.

**Question 1**: Are there quantities for Bid Item 8 (36inch) and Bid Item 10 (48inch) bid items?

**Response:** *Please see the revised Bid Form issued with this Addendum. Quantities for each pipe size shall be determined on an as-needed basis as part of the Work Order when pipe inspections reveal that lining is needed.*

**Question 2**: Would the City consider adding 1.5mm thickness variances for all sizes? The thicknesses for bid items 8, 9 and 10 appear thinner than would normally be required.

**Response:** *Please see the revised Bid Form issued with this Addendum. Thickness variances have been added.*

**Question 3**: Would the City consider adding a dewatering bid item?

**Response:** *When dewatering is required, the costs will be based on the size and length of the pipe calculated at a unit price and approved as part of the Work Order. The manner in which dewatering shall be accomplished shall be approved by the City Engineer before the work shall commence.*

**Question 4**: Do you have a planholders list for the CIPP project?

**Response:** *To the best knowledge of the City, the following is a list of companies who have expressed interest in the project and/or are plan holders:*

1. B&D Enterprises
2. Construct Connect
3. Atlantic Pipe Services
4. Granite Inliner / Construction
5. Orange Industrial
6. Vortex Services LLC
7. Aegion / Insituform Technologies LLC
8. LMK Pipe Renewal